# Proposed amendments to Building Product Specifications

Consultation information and feedback form

December 2025 – February 2026

The Ministry of Business, Innovation and Employment (MBIE) would like your feedback on a draft amendment to the Building Product Specifications, which can be viewed here:

https://www.mbie.govt.nz/dmsdocument/31645-building-product-specifications-amendment-1

How to provide feedback

Please provide your feedback by 5pm, Monday 9 February 2026.

You can provide feedback via Survey Monkey: https://www.research.net/r/building-product-specifications-2 or by following the instructions on page 3 to complete this feedback form and send it to us.

What we are seeking feedback on

Feedback is sought on the following sections of the Building Product Specifications:

- Section 3.5 – Timber (incl. wall bracing)

- Section 5.2 – Sound insulation (new)

- Section 8.3 – Closures including fire doors, smoke control doors, glazing, and dampers.

In the below sections are the proposed modifications to or standards for incorporation into the Building Product Specifications – you may respond to as many (or as few) sections as you wish. You may tick either agree, disagree or no opinion on the proposed standard (please only tick one box per standard). If you neither agree or disagree, or have no comment, please tick ‘no opinion’.

We are seeking three key pieces of feedback:

- Do you agree or disagree with each of the standards or reference documents proposed to be cited in the Building Product Specifications?

- If not, for each citation you disagree with, why do you believe they are not suitable?

- Do you have suggestions for standards or other references to be cited in future versions of the Building Product Specifications?

We appreciate your time and effort taken to respond to this consultation.

Building Product Specifications Q&As

What is the Building Product Specifications?

The Building Product Specifications is a legislative instrument that incorporates product standards by reference and sets out other specifications for the use of some building products.

The Building Product Specifications is used in conjunction with acceptable solutions and verification methods. Having a separate instrument for product standards enables currently cited standards to be updated, and new standards to be added to these compliance pathways, more regularly.

Why is this being updated?

The first edition of the Building Product Specifications was issued in July 2025. Amendments are proposed to modify specifications and incorporate further product standards. Some of the product standards proposed to be cited were suggested by submitters during consultation on the first edition.

How can the Building Product Specifications be used?

The Building Product Specifications cannot be used in isolation to demonstrate compliance with the Building Code. It can only be used to demonstrate compliance for a particular Building Code clause when referenced by an acceptable solution or verification method.

Products that comply with the Building Product Specifications must be accepted by Building Consent Authorities when the relevant section is cited by an acceptable solution or verification method. Products must be used as intended and within the scope of the relevant acceptable solution or verification method.

What is included in the Building Product Specifications?

The Building Product Specifications contains some product standards and specifications that were previously set out in acceptable solutions and verification methods. Where MBIE has determined that newer versions of standards can be cited or identified alternative standards that are broadly equivalent or better than current standards, these have been added to the Building Product Specifications.

Designers, builders and others can choose to specify products that meet these new standards in building consent applications, but there are no new or increased mandatory requirements. Standards and specifications currently referenced by acceptable solutions and verification methods will continue to be accepted, though they may now be set out in the Building Product Specifications.

When will amendments to the Building Product Specifications come into effect?

Following consultation, MBIE will review submissions and use feedback to finalise the amendments to the Building Product Specifications. The amendments will be issued by the end of April 2026.

Relevant acceptable solution and verification method documents will also be updated when the Building Product Specifications comes into effect.

Note: A transition period is not required as the current requirements are not changing.

How to submit this form

To make a submission using this form you will need to:

- Fill out your name and email address. If you are representing an organisation, please provide a brief description of your organisation and its aims, and ensure you have the authority to represent its views.

- Fill out your responses to the questions. You can answer any or all of these questions. Where possible, please provide us with evidence to support your views. Examples can include references to independent research or facts and figures.

When completing this submission form, it helps if you add comments and reasons explaining your choices. Your feedback is valuable as it informs decisions about incorporating material by reference in the Building Product Specifications.

MBIE needs your feedback by 5:00 pm on Monday, 9 February 2026.

- Email: building@mbie.govt.nz, with subject line Building Product Specifications consultation

- Post:

Building Product Specifications consultation
Building System Performance
Ministry of Business, Innovation and Employment
PO Box 1473
Wellington 6140

Next steps

Your feedback on this document will be collated and analysed along with all the other responses.

Following consideration of submissions, MBIE will finalise amendments to the Building Product Specifications to incorporate additional material by reference and issue the amended document.

Use of information

Release of information on MBIE website

MBIE may publish copies or excerpts of submissions. MBIE will consider you to have consented to this when you submitted your feedback unless you clearly stated otherwise in your submission.

If your submission contains any information that is confidential which you do not want published, please:

- state this at the start of your submission, with any confidential information clearly marked within your feedback text

- provide a separate version, with your confidential information removed, for publication on the MBIE website.

Release of information under the Official Information Act

Once submitted, your feedback becomes official information and can be requested under the Official Information Act 1982 (OIA).

An OIA request asks for information to be made available unless there are sufficient grounds for withholding it. If some or all of your submission falls within the scope of any request for information received by MBIE, they cannot guarantee that your feedback will not be made public. Any decision to withhold information requested under the OIA is reviewable by the Ombudsman.

Get help from the ombudsman – Ombudsman New Zealand

If you do not want your submission feedback released as part of an OIA request, please say so in your submission feedback together with the reasons why (for example, privacy or commercial sensitivity).

MBIE will take your reasons into account when responding to OIA requests.

Personal information

The Privacy Act 2020 contains principles on how various agencies, including MBIE, collect, use and disclose information provided by individuals.

Any personal information you supply to MBIE in the course of providing your submission feedback is only:

- used for the purpose of assisting in the development of advice in relation to this consultation, or

- for contacting you about your submission.

MBIE may also use your personal information for other reasons permitted under the Privacy Act 2020 (for example, with your consent, for a directly related purpose, or where the law permits or requires it).

Please state clearly in your submission feedback if you do not want your name, or other personal information, included in any summary of submissions that MBIE may publish.

MBIE will only keep your personal information for as long as it is needed for the purposes for which the information may lawfully be used.

Where any information provided (which may include personal information) constitutes public records, it will be kept to the extent required by the Public Records Act 2005.

MBIE may also be required to disclose information under the Official Information Act 1982, to a Parliamentary Select Committee or Parliament in response to a Parliamentary Question.

You have rights of access to, and correction of, your personal information.

Go to MBIE's privacy web page for more information: Privacy | Ministry of Business, Innovation & Employment

# Your information

MBIE would appreciate it if you would provide some information about yourself. This helps MBIE understand the impact their proposals may have on different occupational groups. Any information you provide will be stored securely.

- About you

| Name: |  |
| --- | --- |

| Email address: |  |
| --- | --- |

- Can MBIE contact you if they have questions about your submission?

☐ Yes 						☐ No

- Are you making this submission on behalf of a business or organisation?

☐ Yes 						☐ No

If yes, please add the name of your company or organisation.

[Please add name here]

- Select your role or the best way to describe your organisation:

| ☐ Architect | ☐ Designer (please specify below) |
| --- | --- |
| ☐ BCA / TA / Building Consent Officer | ☐ Engineer (please specify below) |
| ☐ Builder or tradesperson (please specify below) | ☐ Engineering Associate (please specify below) |
| ☐ Building product manufacturer or supplier (please specify the type of product below) | ☐ Residential building owner |
| ☐ Building resident, occupant or user (please specify below) | ☐ Other (please specify below) |
| ☐ Commercial building owner | ☐ Prefer not to say |

[Please specify here]

- Personal information

The Privacy Act 2020 applies to feedback provided in all submissions.

| ☐ | Please tick the box if you do not want your name or other personal information included in any information that MBIE may publish. |
| --- | --- |

- Publishing information

| ☐ | MBIE may upload submissions, parts of submissions, or a summary of submissions received to its website. If you do not want part or all of your submission uploaded, please tick the box and say what you do not want uploaded and why below. |
| --- | --- |

If you have ticked this box, please tell us what part(s) of your submission you do not want uploaded on MBIE’s website and why.

[Please specify here]

- Official information

The Official Information Act 1982 applies to all submissions received by MBIE.

| ☐ | If you would like your submission (or parts of your submission) kept confidential please tick the box and state your reasons and ground(s) under sections 6, 7 and/or 9 of the Official Information Act that you believe apply, for consideration by MBIE. |
| --- | --- |

If you have ticked this box, please tell us what parts of your submission you would like to be kept confidential, your reasons for this, and any grounds under the Official Information Act that you believe apply.

[Please specify here]

- Section 3.5	Timber (including wall bracing elements) (please go to the next section if you do not have feedback on this)

- Do you agree or disagree with the proposed amendments to Paragraph 3.5.3.3 of the Building Specifications?

| - Paragraph 3.5.3.3 of the Building Product Specifications is proposed to be modified so that, when gypsum plasterboard is used as wall bracing, the bracing rating shall be 25 bracing units per meter (25 BU/m) on each wall face covered by gypsum plasterboard. | - ☐ Agree ☐ Disagree ☐ No opinion |
| --- | --- |

- If you do not agree with the proposed amendments to the specification for gypsum plasterboard, please explain the reason for your choice:

[Please explain here]

- Section 5.2	Sound insulation (please go to the next section if you do not have feedback on this)

- Do you agree or disagree with the citation of the following references in the Building Product Specifications?

| - ASTM E336-90* Method for measurement of airborne sound insulation in buildings | - ☐ Agree ☐ Disagree ☐ No opinion |
| --- | --- |
| - ASTM E336-25 Standard Test Method for Measurement of Airborne Sound Attenuation between Rooms in Buildings | - ☐ Agree ☐ Disagree ☐ No opinion |
| - ISO 16283-1:2014 Acoustics – Field measurement of sound insulation in buildings and of building elements Part 1: Airborne sound insulation | - ☐ Agree ☐ Disagree ☐ No opinion |
| - ASTM E413-1987* Classification for Rating Sound Insulation | - ☐ Agree ☐ Disagree ☐ No opinion |
| - ASTM E413-22 Classification for Rating Sound Insulation | - ☐ Agree ☐ Disagree ☐ No opinion |
| - ISO 140/VII:1978* Acoustics — Measurement of sound insulation in buildings and of building elements — Part VII: Field measurements of impact sound insulation of floors | - ☐ Agree ☐ Disagree ☐ No opinion |
| - ASTM E1007-25 Standard Test Method for Field Measurement of Tapping Machine Impact Sound Transmission Through Floor-Ceiling Assemblies and Associated Support Structures | - ☐ Agree ☐ Disagree ☐ No opinion |
| - ISO 16283-2:2020 Acoustics – Field measurement of sound insulation in buildings and of building elements Part 2: Impact sound insulation | - ☐ Agree ☐ Disagree ☐ No opinion |
| - ASTM E989-89* Standard classification for determination of impact insulation class (IIC) | - ☐ Agree ☐ Disagree ☐ No opinion |
| - ASTM E989-21 Standard Classification for Determination of Single-Number Metrics for Impact Noise | - ☐ Agree ☐ Disagree ☐ No opinion |
| - ASTM E989-18 Standard Classification for Determination of Single-Number Metrics for Impact Noise | - ☐ Agree ☐ Disagree ☐ No opinion |
| - ASTM E989-06(2012) Standard Classification for Determination of Impact Insulation Class (IIC) | - ☐ Agree ☐ Disagree ☐ No opinion |

*ASTM E336-90, ASTM E413-87, ISO 140-7:1978 and ASTM E989-89 are currently cited in verification methods and acceptable solutions. This proposal is to migrate these into the building product specifications.

- If you do not agree with the citation of any of the above references, please explain the reason for your choice:

[Please explain here]

Section 8.3	Closures including fire doors, smoke control doors, glazing, and dampers (please go to the next section if you do not have feedback on this)

- Do you agree or disagree with the citation of the following references for in the Building Product Specifications?

| - AS 1905.1:2015 Components for the protection of openings in fire-resistant walls – Part 1: Fire-resistant doorsets | - ☐ Agree ☐ Disagree ☐ No opinion |
| --- | --- |
| - BS EN 1634-1:2014+A1:2018 Fire resistance and smoke control tests for door and shutter assemblies, openable windows and elements of building hardware - Fire resistance test for door and shutter assemblies and openable windows | - ☐ Agree ☐ Disagree ☐ No opinion |
| - CAN/ULC S104:2015 Standard Method for Fire Tests of Door Assemblies | - ☐ Agree ☐ Disagree ☐ No opinion |
| - NFPA 252:2022 Standard Methods of Fire Tests of Door Assemblies | - ☐ Agree ☐ Disagree ☐ No opinion |
| - UL 10B:2020 Standard for Fire Tests of Door Assemblies | - ☐ Agree ☐ Disagree ☐ No opinion |
| - UL 10C:2021 Positive Pressure Fire Tests of Door Assemblies | - ☐ Agree ☐ Disagree ☐ No opinion |
| - ISO 3009:2003 Fire-resistance tests — Elements of building construction — Glazed elements | - ☐ Agree ☐ Disagree ☐ No opinion |
| - ASTM E119-20 Standard Test Methods for Fire Tests of Building Construction and Materials | - ☐ Agree ☐ Disagree ☐ No opinion |
| - UL 263:2011 Fire Tests of Building Construction and Materials | - ☐ Agree ☐ Disagree ☐ No opinion |
| - NFPA 257:2022 Standard on Fire Test for Window and Glass Block Assemblies | - ☐ Agree ☐ Disagree ☐ No opinion |
| - UL 9:2009 Standard for Fire Tests of Window Assemblies | - ☐ Agree ☐ Disagree ☐ No opinion |

- If you do not agree with the citation of any of the above references, please explain the reason for your choice:

[Please explain here]

Lastly, do you have any suggestions for future Building Product Specifications or other comments?

- If you would like to suggest any other standards or reference documents that should be cited in future versions of the Building Product Specifications, please tell us what they are and why you think they should be incorporated.

Standard/reference document(s):

[Please add names of standards/reference documents here]

Why should these be incorporated:

[Please include detail on what product(s), acceptable solutions and verification methods these relate to, and how they are equivalent to or better than current standards]

- If you have any other comments on the Building Product Specifications, please provide these here:

[Comments]

Thank you for your feedback, we really appreciate your insights.