## Short summary
# | Question | Transpower | NZIER to MEUG | NZ Smart Grid | Meridian Energy | Contact Energy | Trustpower | ENA | NZ Wind Energy Association | NZ Geothermal Association | Eastland Generation | Molly Melhuish | Summary
1 | Do you agree with this description of the purpose of the EDGS, including the material in the appendix? | EDGS have single purpose. Other parties may have an interest in the EDGS, but their requirements should not carry any weight in putting the EDGS together. | Agree with description but state Intent is to provide CC with "arm's length advice" Suggest repurposing EDGS | EDGS have a wider purpose. Suggests value in continuing to develop the model for wider industry stakeholders. | Yes. Sees EDGS as "essentially guidelines to test the potential value of actual transmission projects at the time the investment is being considered." Suggests that EDGS should explicitly state it is not intended for policy analysis. | Purpose is too narrowly defined. It is relied on for a myriad of other purposes | Yes. Scenarios used outside this purpose, MBIE should reference where they are used. | Yes. But Draft EDGS not sufficient to allow major capex investment test to be performed. |  | Agree, but EDGS has wider purpose | Agree | Agrees with description disagrees with Capex IM. | Stakeholders understand stated purpose of EDGS. Many think the EDGS have wider purpose, and that this should be recognised. Others suggest the draft EDGS are not fit for purpose without changes.
2 | In the absence of regional and prudent peak demand projections being a part of the EDGS, the Ministry would like to ask for your feedback on the best way to independently verify regional and prudent peak demand projections. | We support the view that we produce peak demand forecasts avoiding the need for unnecessary duplication. We consider that MBIE could take on an audit role of our peak demand forecasts focusing on the "reasonableness" of our forecasts and approach. Note TP forecast peak growth rates similar to MBIE national energy growth rates Note that at start of each major investment investigation releases a consultation paper that sets out assumptions including peak demand forecasts Notes forecasting method is publicly available. Forecasts are updated annually | Suggest "whole of system" approach to EDGS and TP regional and prudent peak demand forecasts.  The Ministry needs to explicitly link its generation and energy demand scenarios to Transpower's peak demand forecasts  Transpower assumptions and forecast methodology for regional peaks should be disclosed as part of, or alongside, the EDGS forecasts. |  | "MBIE need to take ownership of peak (prudent peak & regional peak) demand forecasts if EDGS are to be used for transmission" planning and investment. Suggest: - An informal discussion between industry experts could be a worthwhile approach to answering this question. - Transpower could demonstrate consistency at the time they are used and allow industry to critique it. Should consider distributor forecasts and "hindcast" predictions (note SI growth of 0.5% not supported by history) | "Contact disagrees with the absence of regional or peak demand projections. Contact would not want to see regional and/or peak demand projections dealt with through a separate forum in isolation from the industry. In our view, regional and peak demand projections should be included within the EDGS (this could be reviewed or developed by Transpower first, then provided to the industry for comment)." | 2.1 ...We believe that these forecasts should be put out for consultation..There should be full transparency of the modelling and assumptions used to determine the forecasts. 2.2 While Transpower is likely to have the best source of information in this area, other parties will also be able to provide useful input, particularly at the sub-GXP level. 2.3 Transpower’s approach to creating forecasts could also be benchmarked against the approaches used by the central forecasting bodies of other jurisdictions, such as the Australian Energy Market Operator (AEMO). | By not including means EDGS not fit for purpose. Better to include verification of TP peak demand forecasts during EDGS process than elsewhere. |  | Suggests using average nodal prices to help assess regional effects in general | MBIE to own. Suggest consulatancy in combination with relevant lines companies | Agree with workshop report that MBIE should work to verify's TP peak demand forecasts. Should consider residential's wood burning ability to effect peak. | Stakeholders agree that Regional peak demand is important to include in EDGS. MBIE have committed to completing verfication process of TP peak and prudent demand forecasts.
3 | Do you agree that the key uncertainties identified in this section, and the proposed eight equally weighted scenarios, sufficiently represent overall uncertainty for the purpose of the EDGS? | "Overall, the scenarios appear to represent a relatively narrow range of possible future outcomes. As noted above, we would prefer that scenarios 5 to 8 are considered as sensitivities. The proposed eight, equally-weighted scenarios, put too much emphasis on the mixed renewables generation mix." | No. Falling demand - demand growth in residential and industrial sectors doesn't reflect recent trends. Locational shifts in demand understated. "eight equally weighted scenarios" doesn't inform users about different uncertainty levels between forecasts or range of likely outcomes. |  | Suggest: - Hydro output: explicitly state hydro output is maintained at status quo across scenarios. Consider adding scenario that represents risks of restrictions of hydro outputs. - Transmission pricing method (TPM) - Likely that TPM will be revised over next few years due to current EA review. MBIE should state that "any changes to the TPM may impact on the EDGS and that the EDGS would have to be revised when the nature of any such changes becomes clear." - Demand allocation by island - graphs shows demand growth rates in south island have historically been up at ~2% while EDGS projections drop to below 1% - Low demand - near term projections to follow recent trend for low, mid and high - Tiwai demand - remove 400 MW Tiwai demand scenario as it is a midpoint between two extremes and would be captured by TP as a variation to the EDGS | "While we agree with the key uncertainties identified, we think the breadth of approach is too narrow and the scenarios too static." - All scenarios should have point when Tiwai exits, as unlikely to continue to 2040 - Insufficient attention to demand side e.g. industrial retirement or demand response to price changes - Expects later plant initial investment in plant build (currently Tauhara Stage 2 in 2018) - Further points moved to question 4 | 3.1 As well as demand growth, the EDGS could consider changes in the way electricity is used and the intra-day patterns of consumption... could result in shifts in the types of generation that is able to be built 3.2 There is also the potential for the operation and flexibility of hydro plant in particular to be constrained by increased competition for water, or by new policies for water quality management. 3.3 MBIE could also explore how New Zealand’s energy sector may be impacted by the adoption internationally of a high carbon charge, which could impact the relative attractiveness of this market for energy-intensive industry. | Should check scenarioes against CC's Default Price-Quality Path reset; MBIE’s Smart Grid Forum; Business New Zealand scenarios | "The scenarios approach is useful. The “disruptive” scenario should be added. We also suggest an additional scenario where the Tiwai Point smelter remains at a high production level and another industry is established in New Zealand that uses a significant amount of electricity. Examples of possible industries include: production of carbon fibre and the production of hydrogen." | Yes | Agree. Suggest scenario with high distributed generation. | No. Suggests adding additional uncertainty around demand response. Suggests adding disruptive single scenario is insufficient to represent structural change occuring | Stakeholders have made suggestions in a number of different areas. MBIE is working on adding a scenario that reflects higher uptake of new technology as well as exploring a water reform scenario.
4 | Do you have any specific feedback on the proposed EDGS capital cost assumptions which are sourced primarily from the PB generation data update 2011? | PB report is now 4 years old. For newer technologies cost changes may be quite significant | No comment |  | Robust. Current TPM distorts incentives, overcharging south island generators. Any change in the TPM will impact all scenarios. Thermal Retirement - Unclear why these haven't been treated on economic basis, or as a scenario. Suggests using reservoir simulation model and checking for revenue adequacy. | Static assumptions. Forecast cost curves should be used. Data is "quite old." Hauauru ma raki (HMR) wind project exited in Aug 2013 Tauhara stage 2 should be pushed out. | No | Long run exchange rates should be checked by Treasury Query about NZIER GDP forecast inter quarter variability | PB report out of date. Recent NZ project had LRMC of $70/MWh. Wind costs too high even after 10% reduction | Generally correct - update may be needed | Suggest updating project cost estimates. State that there are significant differences between GEM and developer costs. Suggests info could come from developers or analysis of the current top 15-20 lowest LRMC. | No | Stakeholders agree that PB report 2011 report now quite old.
5 | Is the variation in key assumptions consistent with the scenario design and future uncertainty? | "we believe that scenarios should reflect a broader range of possible futures to stress-test the need for new transmission investment." - Base demand growth - Uptake of solar PV - Uptake of electric vehicles - Retirement of Huntly Units - Uptake of battery storage | No. High and low growth scenarios not correlated to solar and EV uptake Reductions in Tiwai Demand not combined with low demand growth The high and low growth scenarios use the medium supply assumptions Suggest independence/correlation matrix for assumptions | Agree Solar energy and Electric Vehicles key uncertainty. Note EDGS don’t explicitly consider battery storage. Suggest low cost storage is likely to have "as great, if not a greater, impact on the uptake of distributed supply as the generation technologies themselves." | Reasonable | No significant generation build likely without the reduction of uncertainty around Tiwai. |  | No. Demand projections not reasonable and feasible. Global low carbon emissions and low growth scenarios internally inconsistent. GLCE should have low residential demand per household. In the low growth scenario more likely than not that Tiwai load would reduce. | Because the cost estimate of wind is too high the scenarios don’t accurately reflect wind generation in the merit order. | No. Geothermal development too slow due to assumed availabilities. Consider pipeline projects. | Yes | High solar uptake should be higher weighted Demand response should become a key assumption | Stakeholders have made helpful suggestions
6 | Given the current flat demand environment, should we put more weighting on low demand growth scenarios? | "There is a considerable amount of uncertainty in demand growth at the moment. This emphasises the need to undertake sensitivity analysis using a range of demand growth assumptions that is broad enough to capture the range of uncertainty." | Yes. But should consider level and location of peak loads. |  | No. Could use recent trend in near term and transition to long term average. Scenario weights can be adjusted for any capex scenario so debate on scenario weightings not required. | "Yes. However, more thought should also be given to demand generally, and how its components are expected to change over time and with new technology and the life cycle of major users." | 6.1 We believe that MBIE should compare its base case view of demand growth with those of the central bodies in other developed economies (e.g. the US, UK and Australia), and compare and contrast the assumptions and methodologies.. 6.2 While other jurisdictions.. have different underlying drivers... those jurisdictions now place greater emphasis in their forecasts on increasing energy efficiency and priceelasticity of energy consumption than.. in the past. 6.3 These countries’ base case growth projections are now much lower than New Zealand’s, and they also consider zero or negative growth scenarios. | Not credible to assume demand growth in all scenarios. Currently "significant uncertainty in demand in terms of absolute level, the profile of demand and the mix between residential, commercial and industrial." Attached Sapere report on residential demand. | "MBIE needs to better understand the drivers of low/flat demand growth over the past few years. " "In addition to a low scenario there should be a scenario that looks at higher growth, such as energy intensive industrial enterprises establishing in New Zealand." | Yes. Favours greater use of low GDP growth scenarios. MBIE needs good case for future generation growth rates appearing to be optimistic compared with the recent past. | No. Mid case demand and residential demand is reflective of reduced demand in recent periods. | Yes. Flat demand has been largely driven by structural change, namely long-lasting energy efficiency investments (insulation, and efficient appliances and commercial HVAC and lighting). | MBIE to reduce the projection of residential electricity demand per household in the base case and the high growth case. The MBIE modelling team should further explore data sources to improve the proposed residential electricity demand model.
7 | Does the high uptake of electric vehicles (and Solar PV) that are used in our Global Low Carbon Emissions scenario adequately reflect future uncertainty? | No. EV s - Assumptions for base case "very conservative." High case "conservative" compared with extreme views. More room to vary assumptions more significantly Solar - Possible range of solar much wider . | No. High side estimates reasonable. Don't describe triggers that coud lead to such step-change. | The high case is"conservative" compared to the high uptake of new technology scenario Transfom considered. Due to the high uptake scenario reflecting sustained exponential cost reductions and the compounding effect of solar and storage on uptake. See EV uptake as similar to logarithmic uptake of mobile phones. Results in 4 times higher uptake of EVs than in MBIE high uptake case. | Reasonable. Analysis of who pays/benefits from extreme scenarios. E.g. affordability for high solar uptake | "We would be happy to share our views on solar and electric vehicle uptake with MBIE." |  | No. Should include higher uptake scenario. Should be a link between demand growth and solar/EV uptake. | "We assume that the proposed “disruptive technologies” scenario will cover this. As outlined above, we suggest a further scenario involving the establishment of new industrial enterprises that result in a significant increase in demand. Examples are carbon fibre production and the production of hydrogen." | EVs is one of largest uncertainties | No. Suggests reviewing high growth solar case to better reflect extreme case. Spread of growth for EV and solar is adequate. | High uptake should occur in at least one other scenario. | Some stakeholders suggest higher uptake scenario. MBIE are working on adding a high uptake of new technology which will likely include a high case of solar and EV.
8 | Should we put more weighting on the low gas availability option given the current level of oil prices? | Unclear | No comment |  | No. Plently of time for oil prices to recover to IEA levels. | No. |  |  | Need to included low gas scenario |  | No. |  | Stakeholders agree that this is unneccessary
9 | Does the range of retirement for the Huntly units across the scenarios adequately reflect the associated uncertainty? | Range of 2017-2021 "compressed." Location of baseload build to replace is significant to flows on core grid in upper Central North Island. | No comment |  | No. Retirement dates have been assumed as inputs rather than modelled outcomes. By having not Huntly in any of the scenarios the value of the Huntly stockpile is not accounted for (thermal storage). | Not unreasonable. |  |  |  |  | Suggest early | Should be earlier | Stakeholders have given range of responses.
10 | Are there any comments on the build schedules or other key results published in this document and the accompanying excel files? | "Future uptake of electricity storage (i.e. batteries) is of key interest to us." Unclear where projected future embedded generation will be built. Nova built Junction road plant not included [Todd peaker is included] Southdown decom not included | No comment |  | TPM. changes to the TPM will have an impact on the economics of any new renewable plant over the coming decades. Measuring impact. Important to discuss estimates of system cost in any modelling Model calibration. There is value in simulating core scenarios with a reservoir optimisation model to ensure key outputs. GEM modelling. We suggest that the GEM inputs are provided along with a description of the approach used by MBIE. Project names. Meridian suggest that any projects built post-2030 are named generically and not mapped to particular companies. This is because there is no guarantee that existing consent holders will still hold those consents in 15+ years. South Island builds. A number of factors are distorting the number of South Island builds: the Transmission Pricing Methodology, static location factors, and the assumed North/South demand balance. | "In Contact’s view, the build schedules are far too aggressive. We find it difficult to envisage major generation being built while uncertainty remains over Tiwai." |  | Unclear whether peak demand ratios used by MBIE are historical or dynamic to future developments. Different technology results in a different pattern of demand. States ENBs see changes in demand profile not mirrored at total energy level. Suggests ENA analyse possible effect of changes in distribtuion pricing on peak demand. | "As discussed above the cost estimates of wind are too high. The PB report over-estimated these back in 2011 and a 10% reduction on the costs in the PB report do not accurately reflect the cost of wind generation today. We are happy to meet with MBIE and work through the details of more accurate costs of wind generation." | "We note that the Electricity Authority undertook an analysis of electricity consumption patterns1. A conclusion was that there had been no change in the fundamental relationships between demand and causal factors. Has the general relationship been established and used as a cross check on the anticipated demand from the various scenarios?" | The plant “Kawerau_TeAhiOMaui _KA22” is likely to have a 20MW capacity and is now Fully Consented. | "Climate change policies in Europe have driven a different, high-variable-renewables model, and 3 decades of energy efficiency investments in the US have also greatly influenced build schedules. New Zealand is in a fantastic position to use both types of technology to create a 100% renewable electricity sector using its uniquely comprehensive market mechanisms." | Stakeholders have provided many useful specific comments. Stakeholders suggested that there is no rush to publish the EDGS.
| Extra comments | Scenarios should reflect variability The So0 scenarios dated quickly - valid for 12 months at most Generation build forecasts were balanced nationally but not regionally High and low demand and the early exit of Tiwai are better treated as sensitivities Technology is changing quickly Remove demand scenarios Remove Tiwai scen Include disruptive tech scenario Next version of EDGS: Change EDGS to be tables of GEM drivers only, Publish scenarios which are more "stress tests" than forecasts | MBIE should:  Implement the actions accepted by MBIE after the workshop develop a forecast approach that explicitly considers:  the expected level of variation in future electricity demand and generation, preferably with some assessment of the relative likelihood of scenarios or of different outcomes within the forecast range,  the expected location of demand and supply as Transpower investments are essentially about correcting the mismatch between the location of generation and demand, and  analysis of the potential that factors may add measurable uncertainty to the forecasts but are not included explicitly in the forecast because the data is not available or does not reflect their expected impact.  Describe the degree of independence/correlation for the various assumptions and provide a rating of their relative likelihood of different combinations of the assumptions to make it easier for the Commission to consider the risks and uncertainty in Transpower capital expenditure proposals. No rush to publish EDGS |  |  | "Given the MIBE/MED have been drafting the EDGS for some time, it would be useful to understand how accurate past forecasts have been and what, if any changes have been made to the methodology to improve the current forecast. As part of looking at future sources of electricity supply, we think more focus should be put on freeing up existing generation capacity, such as that on the Clutha which is currently restricted because of the HAMI charge." |  | "The ENA submits that as the residential demand model is “not settled” and regional and prudent peak demand projections have not yet been provided further consultation on the EDGS is required. The ENA suggests that as the exclusion of these projections is a departure from what MBIE proposed in 2012 and therefore unanticipated by participants this delay is not unreasonable. Furthermore, we understand that the EDGS would not be applied immediately as Transpower is not imminently proposing any major capex investments." "The ENA’s preference would be for a thorough review of the commercial and industrial demand models that considers whether GDP is likely to remain a strong and stable relationship with industrial and commercial electricity demand over the projection horizon. However, at a minimum we suggest that MBIE re-run the analysis of commercial and industrial demand to ensure that the model coefficients have not changed since 2011 and that it understands and can explain differences between its model and the Commerce Commission’s more recent analysis." Suggests modelling Tiwai load as generation variable. Suggests care when modelling DSR so changes in consumer behaviour are not double counted as DSR. e.g. batterys has DSR potential but may already be considered in demand profile. |  |  |  | EDGS scenarios "no longer fit for purpose". Suggests change of system structure, "energy transition" is occuring - towards consumer led investment. This contrasts with EDGS business as ususal approach. "A New Zealand “disruptive scenario” should include the potential for efficient wood burners to be given a pricing incentive to run on “critical peak days”, " "New Zealand has a wonderful opportunity to adapt the regulation of networks to encourage active participation by consumers, in ways that reduce total system costs, and would enable a 100% renewable electricity system to extend even into transport markets. The EDGS do not incorporate such opportunities at all, but rather reinforce a system that guarantees revenues to Transpower to recover their investment in giant pylons which will never be needed."

## Acronyms
Acronyms
CC | Commerce Commission
MBIE | Ministry of Business Innovation and Employment
TP | Transpower
EA | Electricity Authority
ENA | Electricity Networks Association